## BOM
Layouts					all	item	description	manufacturer	part#	supplier	numpanels	X	Y	Voc	coeff	Vcrit	Isc	3pan	4pan	cost (ex)	inc			commonbits	delivery
1	2	3	4	5	6	TRUE					mm	mm	V	%/C	Vcrit	A	V	V					url
1	1		1	1		FALSE	panels	410W panels	Longi	LR5-54HPB-410M	midsummer	7	1722	1134	37.40	-0.265	40.87	14.00	123	163	£47.00	£56.40	£56.40	£394.80	£0.00		https://midsummerwholesale.co.uk/buy/longi-solar/longi-lr554hibd-410
1					FALSE	panels	435W panels	Longi		midsummer	7	1093	1134	39.33	-0.23	42.50	14.08	127	170	£48.65	£58.38	£58.38	£408.66	£0.00
				FALSE	panels	410W panels	Longi	LR5-54HPB-410M	cityplumbing	7	1722	1134	37.40	-0.265	40.87	14.00	123	163	£47.28	£56.74	£0.00	£397.18	£0.00		https://www.cityplumbing.co.uk/p/longi-solar-hi-mo-5m-410wp-full-black-pv-module-lr5-54hpb-410m/p/787545
				FALSE	panels	435W panels	Longi		cityplumbing	7	1093	1134	39.33	-0.23	42.50	14.08	127	170	£53.43	£64.12	£0.00	£448.84	£0.00
				1	FALSE	panels	410W panels	Instagen		midsummer	7	1724	1134	37.45	-0.25	40.73	13.88	122	163	£75.00	£90.00	£0.00	£630.00	£0.00
				FALSE	panels	480W panels Nexa	Eurener		midsummer	6					£70.00	£84.00	£0.00	£504.00	£0.00
	1	1	1	1	1	FALSE	panels	530W	Longi		midsummer	8	2094	1134	48.57	-0.23	52.48	14.00	157	210	£63.70	£76.44	£0.00	£611.52	£0.00
		1				FALSE	panels	480W	Jinko	JKM480N-60HL4-V-BF-JK03M	leisurepower	6	1903	1134	42.71	-0.25	46.45	11.55	139	186	£67.47	£80.96	£0.00	£485.76	£0.00	£149.99	https://leisurepower.co.uk/solar/solar-panels/rigid/14963/jinko-tiger-neo-480w-mono-black-frame-solar-panel-jkm480n-60hl4-v-bf-jk03m
				FALSE	panels	480W Germany					£133.17	£159.80	£0.00		£0.00
1	1	1	1	1	1	TRUE	charger/inverter	Multiplus II 5000	Victron		midsummer					£727.13	£872.56	£872.56		£872.56
				FALSE	charger/inverter	Multiplus II 8000	Victron		midsummer					£1,405.25	£1,686.30	£0.00		£0.00
				FALSE	charger/inverter	Multi RS Solar 48/6000			midsummer	£138					£1,650.25	£1,980.30	£0.00		£0.00
				FALSE		rails					£0.00	£0.00		£0.00
				FALSE	PV inverter	Fronius 3kW					£933.80	£1,120.56	£0.00		£0.00
				FALSE	PV inverter	Solax 3kW					£420.00	£504.00	£0.00		£0.00
				FALSE	PV inverter	solax 6kW					£541.80	£650.16	£0.00		£0.00
				FALSE					£0.00		£0.00
1			1		1	FALSE	isolator	DC contactor 16A					£21.80	£26.16	£26.16		£0.00
				FALSE	isolator	DC MCB 80A 80V 1 pole					£12.75	£15.30	£0.00		£0.00
				FALSE	isolator	100A DC MCB	Givenergy		powerland					£19.25	£23.10	£0.00		£0.00
1	1	1	1	1	1	TRUE	isolator	AC contactor 63A					£35.00	£42.00	£42.00		£42.00
				FALSE	controller	CerboGX	Victron		midsummer					£239.00	£286.80	£0.00		£0.00
				FALSE	controller	Cerbo S GX	Victron		midsummer					£189.88	£227.86	£0.00		£0.00
1	1	1	1	1	1	TRUE	controller	venusOSPi			pihut					£65.75	£78.90	£78.90		£78.90
1	1	1	1	1	1	TRUE		vebus to USB	Victron		ebay					£25.00	£30.00	£30.00		£30.00
1	1	1	1	1	1	TRUE		vedirect to USB	Victron		ebay					£25.00	£30.00	£30.00		£30.00
				FALSE		5” display			ebay					£24.17	£29.00	£0.00		£0.00
1	1	1	1	1	1	TRUE		7” display			ebay					£33.33	£40.00	£40.00	£178.90	£40.00
1	1	1	1	1	1	TRUE	15kWh batt	Seplos v4,16MB31			fogstar					£1,416.67	£1,700.00	£1,700.00	£113.33	£1,700.00		£/kWh
				FALSE	13.4kWh batt	Seplos v4,16LF280K			fogstar					£1,333.33	£1,600.00	£0.00	£119.40	£0.00
				FALSE		lynx shunt	Victron		midsummer					£309.00	£370.80	£0.00		£0.00
1	1	1	1	1	1	TRUE	50m	4mm PV cable			midsummer					£30.00	£36.00	£36.00		£36.00
				FALSE	100m	6mm PV cable			midsummer					£85.00		£0.00		£0.00
				FALSE					£0.00		£0.00
				FALSE					£0.00		£0.00
				FALSE	shunt/meter	ET112	Victron					£46.12	£55.34	£0.00		£0.00
1	1	1	1	1	1	TRUE	shunt/meter	smartmeter CT			midsummer					£44.83	£53.80	£53.80		£53.80
				FALSE	shunt/meter	smartshunt	Victron		midsummer					£87.50	£105.00	£0.00		£0.00
		1				FALSE	DC/DC MPPT	MPPT 250/85	Victron		midsummer					£478.63	£574.36	£0.00		£0.00
1	1		2	1	2	FALSE	DC/DC MPPT	MPPT 250/60	Victron		ebay					£291.67	£350.00	£350.00		£0.00
				FALSE	DC/DC MPPT	MPPT150/60	Victron		midsummer					£306.25	£367.50	£0.00		£0.00
				FALSE	DC/DC MPPT	Smartsolar 150/35	Victron		midsummer					£161.00	£193.20	£0.00		£0.00
1					FALSE	DC/DC MPPT	Smartsolar 150/35	Victron		ebay					£145.00	£145.00		£0.00
				FALSE	DC/DC MPPT	Smartsolar RS 450V	Victron		midsummer					£1,041.67	£1,250.00	£0.00		£0.00

				£3,519.19		£2,883.25

## Options
Designs
		FIT panels				New panels					Marginal over 2
		#		power	row	#		power	rpw	FIT	new	total	generation	cost	cost/kWp	Cost	gen.	payback	delivery	FIT panels	New panels	MPPT1	MPPT2	balance
				W				W		kWp	kWp	kWp	kWh/yr	£	£	£	kWh	yrs		£	£	£	£	£
1	Option 1	7	Longi	410	5	7	Longi	435	6	2870	3045	5915	5,619	£4,182	£0.71	£95.02	-128	never		£394.80	£408.66	£350.00	£145.00	£2,883.25
2	Option 2	7	Longi	410	5	6	Longi	530	11	2870	3180	6050	5,748	£4,087	£0.68	£0.00	0			£394.80	£458.64	£350.00	0	£2,883.25
3	Option 3	6	Jinko	480	12	8	Longi	530	11	2880	4240	7120	6,764	£4,555	£0.64	£468.20	1,017	3	£149.99	£485.76	£611.52	£574.36	0	£2,883.25
4	Option 4	7	Longi	410	5	7	Longi	530	11	2870	3710	6580	6,251	£4,513	£0.69	£426.44	504	6		£394.80	£535.08	£350.00	£350.00	£2,883.25
5	Option 5	7	Longi	410	5	6	Longi	530	11	2870	3180	6050	5,748	£4,087	£0.68	£0.00	0			£394.80	£458.64	£350.00	0	£2,883.25
6	Option 6	7	Instgen	410	9	7	Longi	530	11	2870	3710	6580	6,251	£4,748	£0.72	£661.64	504	9		£630.00	£535.08	£350.00	£350.00	£2,883.25

1					2					3

					$E$11
					'$BOM'.F$11	#REF!
					0	1
4					5					6					1	2
					1	3
					1	4
					1	5
					1	6