DIY 1960s EnerPHit Retrofit
[Speaker Notes: Moved in Jan 2007 Previously rented for a decade, Seemed finished and lovely. Actually cold and draughty]

---
Houseplan
[Speaker Notes: 3 bed detached. separate garage DG+cavity wall Cavity not actually filled!]

---
Previous House
[Speaker Notes: Had some experience: Shallow retrofit Insulated plasterboard Combi Double Glazing Didn’t know about airtightness Missed between floors 35mm insulation Didn’t do suspended floor at start Decided to do a better job this time Learned from Navitron, Green Building Forum]

---
Nomenclature
- U-value: Area heat-loss.5 is terrible, 0.1 is good
- Psi-value: Linear heat-loss (e.g around windows)
- IWI: Internal wall insulation
- EWI: External wall insulation
- MVHR: Mechanical Ventilation and Heat Recovery
- EPS: Expanded polystyrene
- XPS: Extruded polystyrene
- PUR/PIR: Polyurethane/Polyisocyanurate foam (celotex/ecotherm etc)
- AECB: Association of Environmentally Conscious Builders
- PHPP: Passivehouse Planning Package
- SAP: Standard Assessment Procedure
[Speaker Notes: IWI/EWI MVHR EPS/XPS/PUR AECB (pubmeets) PHPP Much better than SAP Ignore SAP if trying to measure your building]

---
Retrofit levels
Carbonlite/AECB Retrofit, Enerphit, Passivehouse
	Annual avg heat load (kWh/m2)	Energy per annum (kWh)	Airtightness (airchanges per hr)
As built	377	36,400	10+
As bought	120	11,500	5-8(?)
AECB retrofit	<50	3900	<2
EnerPHit	<25	2400	<1
Passivehouse	<15	1450	<0.6
[Speaker Notes: kWh/m2 annual heat load is best measure IMHO (includes climate, useful floor area, all fabric) Initially chose AECB carbonlite standard (now “AECB retrofit”) Didn’t do PHPP – hard! Just U-values and thermal bridge/airtightness Did PHPP eventually and realised EnerPHit was possible (with new windows) Bottom line is AECB retrofit is a sensible target.]

---
Lots of things improved
- Bedroom floorpaint (2017-03)
- Solar thermal refurb PHE (2017-06)
- Finish lounge IWI (2017-12)
- Break under stairs (2018-02)
- Extension internal window (2018-06)
- Perimeter drains replumb (2019-02&03)
- Understair airtightness (2019-04?)
- Brick up pantry window (2019-05)
- Extend gable (2019-06)
- Perimeter insulation (2019-10)
- Remove porch (2019-11)
- Front door threshold+perimeter (2019-12)
- Loo window shrink (2019-12)
- South perimeter (2020-11)
- Floor ins in pantry (2019-03)
- 3G Windows (2020-06)
- External Wall Insulation (2020-08&09)
- Skeiling EPS (2007-04)
- Bike shed (2007-04)
- Loft platform/walkway (2007-05)
- Bay roof (2007-09)
- Moved/new boiler (2007-12)
- Removed ancient boiler pipes on roof. (2008-01)
- Solar thermal (2008-05)
- Insulation over kitchen back door (2008-11)
- Raised beds (timber) (2008-11)
- Loft hatch (2008-11)
- Internal Wall Insulation (Lounge - 2009-06)
- Front door U=1.4 (2009-05)
- PV (2009-10)
- Remove header tank (2010-06)
- Extension (2011-2014)
- Garage/shed walls (2011-12)
- Garage door (2012-02)
- Garage LEDlights (2013-01)
- Clean cavity (2013-06
- Rooflight mirror (dec 2013)
- Extension LEDlights (2014-04)
- Insulate spare flue (2014-04)
- Extension UFH (2014-05)
- Extension screed (2014-06)
- Extension window taping (2014-10/11)
- Extension ceiling (2014-12)
- Extension floortiles (2015-03)
- Air testing (2015-09)
- MVHR (2015-12)
- Replace greensteps weatherbars (2016-05)
- Lounge reveal chop (2016-09)
- Bedroom IWI + ceiling (2016-10)
[Speaker Notes: This is what a slide of the main jobs we did looks like Too many thing to talk about, so will pick some. Early things Extension IWI, airtightness MVHR EWI, Perimeter insulation A few other things Bit about thermal bridges]

---
Principles
- Airtightness
- Thermal Bridging
- (Vapour movement)
- Thermal Mass
- Solar Gain
[Speaker Notes: So I’ll try to talk about principles, with some examples. Primarily airtightness and Thermal bridging. Vapour movement also important but that’s another hour at least.]

---
Boiler move (2007)
Boiler pics?
[Speaker Notes: Ideal Mexico – gas pilot light 6kWh/day running the pilot (2000kWh/yr) (8 times current total gas usage). Pipes in felt roof. Garage was nice and warm! 1st advice: Take measurements. Replaced with Veissman Vitodens system boiler. Left hot water tank, because solar.]

---
Boiler Move (2007)
[Speaker Notes: Removed old copper Insulated plastic Kept DHW tank/header tank design (removed huge leaking galv tank) Fixed leak in copper tank]

---
Electricity
[Speaker Notes: Checked electrical loads Bell transformer – 11W: 96kWh/yr Holiday base was fridge/freezer at 1.15kWh/day (420kWh/yr) Took part in power company trial. v. useful data. C-rated freezers are bad!]

---
Solar Thermal (2008)
[Speaker Notes: Added solar thermal in 2008. Cheap at £800. 40 vacuum tubes on roof Bit of plumbing 12V pump Thermosiphon so hot water at top. .]

---
Solar Thermal (2008)
[Speaker Notes: Covers Feb-Oct fully Use immersion to fill gaps]

---
Loft + Hatch (2007/8)
[Speaker Notes: Early days insulated skeilings(later) Storage and walkway in loft Why should hatch be worse than the rest?]

---
Solar PV (2010)
[Speaker Notes: Expensive in 2010 Grant and FIT available then so makes £1000/yr 85% export. Metered Paid for itself in 7 years (not DIY): Worth noting that govt grants are never available for DIY: Sadly their focus is still entirely on jobs, not results. It would be very green to have a country full of people DIY retrofitting, rather than galavanting.]

---
Door Thermal Bridge (2009, 2019)
[Speaker Notes: Cut out reveals whilst door in, but revealed bricks making big thermal bridge at base. What is thermal bridge? Had to leave it as you need a front door!]

---
Door Thermal Bridge (2009, 2019)
[Speaker Notes: 10 years later do it properly. chop out the bricks and put in compacfoam break Accessible because of EWI works so porch step cut back]

---
Window reveals
[Speaker Notes: Reveals are solid brick, so significant thermal bridge Decided to leave 2000 vintage windows And cut out reveals.]

---
Reveals
[Speaker Notes: Nasty thermal bridge.]

---
Door Fitting (2009)
[Speaker Notes: Decent U=1.4 door (Green Building Store) fitted 2009. See airtightness taping flap surrounding. Cut into reveal to remove thermal bridge]

---
Door Upgrading (2019)
[Speaker Notes: And XPS round sides to connect to EWI Continuous insulation is key.]

---
Airtightness
[Speaker Notes: Airtightness Vital, gets ignored Holes in walls (plumbing, wiring, joists, vents) Crummy doors and windows. Fortunately we have concrete floor (but still one hole) LHS is behind sink. Pro-clima gasket Gasket round MVHR vent Taping round sockets DIY airtightness test. (generates suck or blow)]

---
Airtightness2
[Speaker Notes: Joist hole Foam gaps, tape to wall Need to (what’s word!) or use glued plasterboard. Blowerproof /passive purple is good too.]

---
Airtightness – Tony tray
[Speaker Notes: Continuous layer. Inside to out. Tony Tray Around ends of joists. Has to be done in sequence]

---
Airtightness: Inside
[Speaker Notes: Tescon Contega. Tape that seals to plaster Taping round windows]

---
Airtightness3
[Speaker Notes: Membrane on ceiling is best, but painted plasterboard can be OK Orcon F and tescon. (extra slide) Seal top of cavity too This is looking down on gable end. (tiles off for EWI) Yellowish vertical bit is foam in top of cavity.]

---
MVHR
(2015)
[Speaker Notes: If you make it airtight you need MVHR. We guessed when. Got one cheap on ebay (£500) Spreadsheet for calcs – low airspeed Mostly metal – bit of plastic All hidden or in loft Works great. Very good air quality. Use windows in Summer Metal cheap and effective – but a lot of work. ubink plastic pipe and manifold much simpler and quicker.]

---
Skeilings (2009)
[Speaker Notes: Just plasterboard from inside to outside Insulate from loft.]

---
Skeilings (2016,
2019)
[Speaker Notes: Just plasterboard from inside to outside Insulate from loft. Still one brick from inside to outside at eaves.]

---
Eaves (2019)
[Speaker Notes: No seal at top of cavity compromises EWI Fiddly to insulate. Switched tile+cement to plastic vent+fingers for ventilation]

---
Eaves2

---
IWI detailing (2010-2016)
Beam-wrap pic
[Speaker Notes: Started with IWI : cheap, easy DIY Cavity makes it safe. Limited thickness on solid wall buildings. Don’t ignore bit between floors Airtightness is key to stop vapour moving behind insulaiton in air leaks.]

---
IWI detailing – joist sealing
[Speaker Notes: Joist ends are most critical bit, so seal carefully.]

---
EWI (2020)
[Speaker Notes: IWI vs EWI Stairs, kitchen bathroom too hard, so EWI. PHPP sums led to 3G all round for EnerPHit Better to have done EWI for whole house. Technically better, less disruption. Cavity must be filled if present.]

---
EWI (2020)
[Speaker Notes: Windows must be lined up with insulation. Makes big difference to psi values]

---
Window fitting

---
Perimeter insulation
[Speaker Notes: If you buy EWI it will just stop at DPC. Like a duvet that hovers 6” off the bed. Need to go down to foundation Big thermal bridge otherwise]

---
Perimeter Insulation1
[Speaker Notes: You have to shift plumbing/drains/downpipes. Good DIY job. Not hard but takes a long time to do properly]

---
Perimeter insulation
[Speaker Notes: High on EWI side (flood resistance) Low on IWI side]

---
Extension (2011-2014)
[Speaker Notes: 4 doors in small kitchen, Block one up. Now get wet going to garage. Cover triangle - Might as well add a room (plants, bikes, etc) → Extension (2011-2014) Also next door raised shared garage roof. Complicated geometry due to triangular nature.]

---
House plan afterwards
[Speaker Notes: Just for orientation]

---
Extension: Process
[Speaker Notes: Consided architects. Expensive Tried Architectural Technologist – rubbish. Did it DIY QCAD (now LibreCAD) 2D 3D CAD would have been better. Worked well, but does take a lot of time. (e.g reading eurocodes)]

---
Extension
[Speaker Notes: Got Green Hat in to do main structure. And plasterer/tiler. We did plumbing, taping, ceiling, lighting. Roof structure needed the ‘good carpenter’.]

---
Extension: Design
200mm cavity U=0.15
Underfloor insulation – always do this!
[Speaker Notes: Extension. Mini house. (doors, windows, floor, walls, roof, heating, electrics). Stole ideas from Green Building Store 1st cavity PH 200mm cavity wall. Foamglass thermal break Basalt wall ties Remove thermal bridges at junctions Lots of insulation and thermal mass Helicoils for roof.]

---
Solar gain & thermal mass
[Speaker Notes: Hard to calc. 15cm concrete slab. Lots of glazing. S and SW. Not heated. Works really well. Never less than 11 or more than 23]

---
Avoiding Thermal Bridges
Foamglass
[Speaker Notes: Foamglass in footings Foamglass where walls joins existing Important but rarely done]

---
Fibreglass
[Speaker Notes: Fibreglass structural thermal break above windows.]

---
Before and After
[Speaker Notes: I think it’s an improvement.]

---
Workshop (2011-12)
[Speaker Notes: Did garage interior to make into workshop. Now insulated, light, more space. PUR on wall and MgO board XPS on floor, UFH routed in MgO board not wear-resistant enough for floors.]

---
Workshop Door (2012)
U=0.35
[Speaker Notes: Couldn’t find a decent U-value garage door, so got one made by carpenter. 140mm thick U=0.35 ish He was good but did turn out to be an enthusiastic naturist, even at work. Bit odd! Door should have had an extra lip for better airtightness.]

---
Costs
- Solar thermal £1,000
- IWI £1,500
- Front Door £800
- Boiler +plumbing £1,600
- Loft £300
- MVHR £1,000
- Airtightness £350
- LED Lighting £200
- Workshop £500+£1,000 custom door
- UFH £700
- Windows: £11,800+£2,400 delivery+fitting
- EWI: £8,000
- Perimeter £2,000
Total retrofit: £33,150 (Spend: £2,400/yr over 14 years)
Extras:
PV £10,500 (-£20,000 by 2030, 4% is usage saving)
Extension £43,400
[Speaker Notes: PV FIT made a big difference for us. Gone now. Most of the insulation and detailing is not expensive if DIYed. But it is time consuming. Can save many thousands and get a (much?) better job. Good windows are expensive. EWI is much more expensive than IWI]

---
Outcomes
Comfort:
No draughts
No cold spots
Very steady temperature
Warm in winter
Cool in summer
Very quiet
No condensation
Air quality
Good for allergies
Disadvantages:
Staying elsewhere seem a bit cold/draughty/damp!
Electricity Usage
Gas usage is 252kWh/yr (£12.60/yr)
Woodburner from 1000 kWh/yr to 200 kWh/yr
[Speaker Notes: Electricity down from 1900kWh to 1100kWh Comfort: no draughts, very steady temperature. Cool in summer, warm in winter,]

---
Advice
- Even if not DIYing, learn the difference between good, bad and excellent.
- Builders assume you want cheapest.
- Specify an airtightness test
- Take a long-term view
[Speaker Notes: Things I’d change. Even if not DIY, learn something about difference between good, bad and excellent. Builders assume you want cheapest. Specify an airtightness test. Details for things I’d change. Come back to later 2) Helicoils are difficult to use – airtightness compromised 3) Should have used vapour-permeable membrane 4) PUR not EPS in loft. 5) Don’t put ST in middle of roof Remember to stop from time to time. Decorate living areas even if not ‘time’ yet. We have ended up doing some thing twice. (south side window reveals)]

---
IWI detailing

---
IWI detailing

---
Next steps
Next steps
- Please give quick feedback: form.jotform.com/211853362329052
- Make a donation: cambridgecarbonfootprint.org/donate/
- Share on social media: #OpenEcoHomes
Thank you for your support!

---
Further Resources
Further Resources
- Talk in more detail: AECB retrofit pubmeets
- More details on this retrofit
- Find out how you can get started with your retrofit
- Book another tour or talk
- Case Studies: Research our past homes
- Borrow a thermal imaging camera and get training
- Use Transition Cambridge’s personalised home energy advice tool
- Take political Action e.g. Households Declare! and their resources

---
Cavities
[Speaker Notes: No seal at top of cavity compromises EWI One brick from inside to outside Fiddly to insulate. Switched tile+cement to plastic vent+fingers]

---
Cavities
[Speaker Notes: No seal at top of cavity compromises EWI One brick from inside to outside Fiddly to insulate. Switched tile+cement to plastic vent+fingers]

---
Orcon and Tescon
[Speaker Notes: No seal at top of cavity compromises EWI One brick from inside to outside Fiddly to insulate. Switched tile+cement to plastic vent+fingers]

---
Raised Beds
(2008 +2012)
[Speaker Notes: Other simple stuff: Raised beds, Water butts Filcris is great]

---
Lintels
(2008 +2012)
[Speaker Notes: Other simple stuff: Raised beds, Water butts Filcris is great]

---
More details at http://wookware.org/house/retrofit/