Net Zero Bills
Wookey

---
Overview
Retrofit (1960s detached). Started 2007
2008 Solar Thermal
2009 2.88kW PV
Works: IWI, airtightness, MVHR, EWI
2024 Upgraded to 7.2kW+battery

---
Solar Thermal

---
Solar Thermal
- Free hot water from the sky!
- Great March to Sept
- Stingy in winter
- Can’t be turned off
- £800ish (existing cyclinder +PHE thermosiphon)

---
2009 PV

---
2009 PV
- Commercial (MCS) install - £13000 (Oct 2009)
- Feed-In-Tariff (FIT)
2.88kWp 2.65kW Fronius inverter
Simple, AC-coupled, no battery

---
PV outcomes
Apr 2010 Import+export meters. FIT. 3p/kWh export
- 85% export (metered – not deemed)
- Generation ~2750kWh/yr. Export 2300kWh/yr
- Usage 1400kWh/yr, falling to 1100kWh/yr
- 41p/kWh (£1100/yr 2010) rising to 71p/kWh.(£1952/yr 2024)
- Capital (£10500) repaid during year 8 (2017)
- Overall ‘zero bills’ since 2010.
- Moved to SEG June 2023 5p/kWh export → 15p/kWh export

---
Leaky roof.

---
2024 PV

---
Professional
DIY

---
Electrics pic

---
Install
- 7.2kWp
  - 2.88kWp existing FIT AC-coupled panels, 2.65kW Fronius inverter
  - 4.2kWp new DC-coupled panels, 3.8kW Victron MPPT
  - 4.4kW inverter/3.6kW charger, built-in gateway. Victron Multiplus II
- £5500
  - £500 scaff, £1700 battery, £1250 panels, £360 MPPT, £800 inverter, £900 sundries, AC inverter install+rails re-used
- 5kW DNO export limit
- No generation 3 weeks Oct/Nov 2024
- 2 months for electrics + config faff
- Battery 8th Dec, Inverter 22nd Dec, Flux Tariff +all set up end Feb 2025

---
VRM

---
Detailed Logging

---
Logging – Mains voltage
Winter
Summer
230V +10/-6% : 216V to 253V 256V for >1s is out of spec. G99

---
Consumption
Blue: battery, Yellow: Solar
Solar
Blue: to battery, Red: to grid

---
Summer pattern

---
Winter pattern

---
Main
control
function

---
Outcomes
Import 551 kWh (arbitrage 442kWh)
Export 5875 kWh (70% at
Consumption 1184 kWh (Grid consumption 109kWh)
(Some uncertainty: AC export not measured till 20th Aug)
Generation ~6500kWh
FIT Generation 2938 kWh (+5%, sunny year?) £2174/yr

---
Embodied emissions
- Embodied emissions:
  - PV 600 KgCO2e/kWp, 7.2kWp, 30 years, 6480kWh/yr, 10% degredation.
    - gives: 8gCO2e/kWh, 1440Kg, direct PV
  - LFP Battery 63 KgCO2e/kWh, 16kWh, 6000 cycles (16 years) to 70%,
    - gives 15gCO2e/kWh, 1008Kg (23gCO2e/kWh stored PV)
    - Grid is 150g CO2e/kWh, so this is 120-140g better.
    - Emissions break-even in 3.2 years (ignoring inverter and sundries)